NORTH EASTERN REGIONAL INSTITUTE OF

SCIENCE & TECHNOLOGY

(DEEMED UNIVERSITY)

NIRJULI :: ITANAGAR ::ARUNACHAL PRADESH

OPEN TENDER NOTICE NO.ET.Cell/Maintenance/2016-17  Dated:13.02.2020

| THE LAST DATE OF SUBMISSION OF TENDER(BOTH TECHNICAL AND FINANCIAL BIDS) | : | 10 03.2020 11.00 AM |
| --- | --- | --- |
| ATE OF OPENING OF TENDER | : | 11.03.2020 04.00 PM |

Page-1

NORTH EASTERN REGIONAL INSTITUTE OF SCIENCE AND TECHNOLOGY NIRJULI :: ARUNACHAL PRADESH Telephone No. (0360) 2257401-11 (Extn. No.6374/6010), FAX – (0360) 2258533/2257872 TENDER NOTIFICATION NO.ET.Cell/Maintenance/2016-17 Dated: 13.02.2020 Sealed tenders in two bid systems (Technical & Commercial) are invited from interested Vendor/Service provider for OFC Laying between ET Cell and PG Girls Hostel of this Institute. The details of tender along with other terms and conditions & list of items can be downloaded from our website: www.nerist.ac.in. The last date of submission of tender paper both (technical and commercial) bid is upto 11.00 AM of 10.03.2010. The tender will be opened on 11.03.2020 at 04.00 PM The Director, NERIST reserves the right to accept or reject any tender partly or fully without assigning any reasons whatsoever. Assistant Registrar (S&P)

Contd…..p/2

Page-2

NORTH EASTERN REGIONAL INSTITUTE OF SCIENCE AND TECHNOLOGY

NIRJULI :: (ITANAGAR) :: ARUNACHAL PRADESH

NERIST OPEN TENDER : NO. ET.Cell/Maintenance/2016-17

Dated:  13.02.2020

TERMS AND CONDITIONS :

1. A) Rate :	The rate which should be quoted both in figure & words must be  to inclusive all .

2. A) Consignee :	All stores are required to be consigned to the Director, North Eastern Regional Institute of Science & Technology, Itanagar, Nirjuli, Arunachal Pradesh – 791109.

B) Mode of dispatch :	The consignment is required to be dispatched by Road Transport or delivered at this Institute under supplier’s own arrangement free of additional charges. All offers of delivery should be made ex-stock and clear note should be inserted in case of damage or loss in transit, if any will be borne by the supplier.

C) Dispatch of Document:	The consignment note along with the quadruplicate of copy of relevant bill and two copies of priced challan should dispatch to the Director, NERIST, Nirjuli (Itanagar), Arunachal Pradesh – 791 109 immediately on completion of dispatch of consignment. If these documents do not reach the said office in time all wharf age/demurrage incurred, if any will be recoverable from the suppliers.

3.	Delivery :	The stores are required to be delivered/dispatched within thirty days from the date of receipt of the supply order/or as per mutual agreement, suppliers are requested to take care that all the items mentioned above are to be supplied in full set basis and the items for OFC Laying between ET Cell and PG Girls Hostel of this Institute .

4.	Quality Specification:	The stores offered should be of the best/standard quality available unless, otherwise specified conforming strictly to the specification cited. The Director reserves the right to reject such stores as are found unacceptable on these grounds. Items of only reputed manufacturers will be given preference.

5.	Liquidated damages :	If a firm accepts the order and fails to execute the order in full or part as per terms and conditions stipulated therein, it will be open to the Competent Authority to recover liquidated damaged from the firm at the rate of 1% per month or the part thereof, subject to a maximum of 5% of the value of the undelivered stores. It will also be open to the Competent Authority, alternatively to arrange procurement of the required stores from any source, at the risk and expense of the firm that has accepted the order and failed to execute the order according in stipulations agreed upon. This will also entail removal of the defaulters name from the approved/registered list of suppliers.

6.	A) Submission of quotation: Quotation should be submitted to the Assistant Registrar (S&P), NERIST, Itanagar, Nirjuli, Arunachal Pradesh – 791109.

Contd….p/3

Page-3

B) Earnest Money :	At the time of submission of Tender, the earnest money in the form of DD @2% on the quoted tender value is to be deposited with the tender which will be interest free. No Tender will be accepted without earnest money. The earnest money is to be deposited in favour of Director, NERIST on State Bank of India, Nirjuli Branch On receipt of supply order, in case the firm fails to supply, the earnest money will be forfeited. EMD in a separated envelope marked with “EMD” should be submitted alongwith technical bid.

7.	Validity (Firmness):	The rate should be valid for six month from the date of opening of tender. No representation for enhancement of price once accepted will be considered during the contract.

8.	Opening of Quotation:	Every quotation will be opened on the date and time as fixed in presence of a duly constituted committee of the Institute. A firm may depute its accredited representative to witness the opening, if it so desires.

9.	Income Tax:	The tender should be accompanied by up to date Income Tax

10.	Quantity of Stores :	The approximate quantities of item proposed to be purchased as mentioned in the list are liable to be increased or decreased at the time of placement of purchase order.

11.	Special discount/rebate:	Special discount/rebate admissible to Educational Institute of National importance may be specifically indicated in the quotation.

12.	Refection of offer :	Tenders not conforming to the terms and conditions and procedure so out lined are liable to be rejected summarily.

13.	Guarantee/Warranty :	The stores should be covered by warranty of quality/warranty of performance and manufactures defect for a minimum period of twelve month from the date of satisfactory installation as the case may be.

14.	Special condition :	Special condition, if any, printed on the quotation sheets of the tenders or condition attached with the tender will not be applicable to the contract unless these are expressly accepted in writing by the Director. Due weight age will be given to bidder offering warranty for a longer period.

15.	ISI Marks :	The tenders shall specify whether the articles offered bear bureau of Indian standard certification mark or not. In such cases they shall produce copies of certification mark along with their tender in support of it. Also specific make and model No. of the equipment is to be mentioned.

16.	Tender fee         	Tender fee of Rs.1,500.00 (Rupees Two thousand five hundred ) only (non refundable in the form of Demand Draft in favour of Director, NERIST, Payable at SBI, Nirjuli, Code No.9535 must be sent along with Technical bid  for OFC Laying between ET Cell and PG Girls Hostel  of this Institute.

17.	Mode of payment:	The payment will be released only after receipt of plan fund from Ministry for the particular work. The suppliers/dealers are requested to take note of this and to submit their bid accordingly.

. 	Contd….p/4

Page-4

18.		Bids Submission.	Separate envelope should be used for Technical and Financial bids. Mixed up envelope will not be accepted. These two envelopes should be sealed in one big envelope. Each and every envelope must be suitably marked to indicate the type of bid i.e. Technical bid, financial bid, EMD and tender fee. The entire envelope should be properly sealed with Wax with seal and signature of the firm.

19.   Discretionary power :	The Director, NERIST reserves the right to accept or reject any or all tenders without assigning any reason there of and also to modify in exceptional case any of the stipulated terms and conditions on merit on genuine and justifying grounds if it is in the larger interest of the Institute. The final acceptance of the tenders rests entirely with the Director who does not bind himself to accept the lowest tender. The selection will be made purely on the basis of Technical Committee’s recommendation, genuineness of   the firm   based on the technical specification of various products as per printed catalogues & also on the basis of experience, performance

20 . Pre-Qualification Criteria:  The bidder should have minimum 03 years of working experience in India in    			             the  domain of OFC network infrastructure, with sales and support office in  				Northeast India.

The bidder should have at least 3 orders for supply/laying of OFC in the last 3 years. Copies of purchase orders to be submitted as supporting documents.

The bidder should not have been blacklisted by any IITs or similar   Autonomous Institutions /Universities, Government /Public Sector   Undertakings on the date of submission of this bid. A declaration from the        bidder must be submitted.

- Scope of work:

- The scope of the work includes and laying of OFC (stock available in E.T Cell will be used as per requirement) through Permanently Lubricated (PLB) HDPE pipe (required to supply by vendor)  by open trenching/micro tunneling method and associated works relating to laying of OFC Cable.

- The installation would be deemed as complete, after the delivery of required materials and laying of OFC, testing of OFC links and final acceptance and certification by Head, E.T. Cell, NERIST.

- The quality of Optical Fiber Cable Plant depends upon the quality of individual items of work involved i.e. depth of cable laid, care while laying, protection, jointing of cables and termination in equipment room and on documentation of OFC cable plant. In order to ensure quality in cable laying work, each component of work needs attention. The work shall be carried out strictly in accordance with specifications laid down to achieve the requisite quality aim.

Contd.P.5/-

Page-5

- The bidder shall provide at his own cost all tools, plants appliances, implements, measuring instruments etc. required for proper execution of works.

- Route Marker: Route markers are also to be placed along the OFC cable route at 50 meters apart and where route changes direction like road crossings etc. The route markers made of pre-cast RCC should have the following dimensions: Base (250 mm x 250 mm);Top(125 mm x 125 mm);Height(1200 mm).The word ‘NERIST OFC’ should be engraved on the route markers. The route markers are to be painted yellow and the same are placed at 1 ft. away from the center of the trench. The engraved word ‘NERIST OFC’ should be painted in black, on route markers.

- Joint / pulling chamber: The joint/pulling chamber is to be provided wherever it is required to keep the O.F.C. joint well protected, to keep extra length of cable which may be required in the event of faults at a later date and to ensure the branching of the cable route. The joint chambers are to be made at site by the bidder using bricks and mortar or are of pre-cast RCC type.

- Trenching to cross Road/Culverts: The PLB pipes shall be laid in the bed of road/culvert at the depth not less than 92 cms protected by G.I. pipes/ RCC and concreting as decided by E.T. Cell. Both ends of culverts shall be excavated more than 92 cms in depth to keep the gradient of not less than 15 degree with horizontal. The bed of trench should be as smooth as possible. Joint/pulling chamber should be constructed at Both end of road crossing/culverts for future maintenance and pulling of OFC .

- Manual trenching and refilling: Manual trenching depth should be minimum 92 cm for normal and hard soil, minimum 92 cm for concrete areas and boring/tunneling method should be used in case of crossing of concrete/bituminous roads at 92 cm (minimum) depth. The trench must be refilled with soft soil or re-cementing to be done depending on the type of trench after laying the OFC through HDPE duct. Aesthetics must be maintained with the existing construction while excavating or refilling the cable the cable trench

22.			The following updated documents should also accompany with the tenders:

- Trade License

- Income Tax clearance certificate/Copy of Income Tax return certificate for last 2 years.

- GST return for last 2 years

- GST Registration Certificate –Mandatory.

- PAN Number of the firm (Copy enclosed) – mandatory

- Interested Vendor/Service provider  are requested to compliance report as enclosed at Annexure-B

Sd/-

Assistant Registrar (S&P)

Page-6

List cum Price bid format for required items and services

| Sr. No. | Description | Quantity (Approximate) | Unit rate (Rs.) | Tax (Rs.) | Total Cost (Rs.) |
| --- | --- | --- | --- | --- | --- |
|  | Excavation of trenching to a depth of 92cm in any type of soil with 45cm at top and 30cm at bottom with clearance of all obstructions, removal of water if required and refilling as specified in scope of work. | 1000 meters |  |  |  |
|  | Supplying, Transporting and laying, jointing of HDPE pipe as per specification mentioned in Annexure-1 | 1000 meters |  |  |  |
| 2 | Transporting, laying, jointing using 40 mm push fit coupler and strengthening of PLB HDPE pipes (40/33 mm) in excavated trench/tunneling trench including pulling of 4mm dia nylon rope with sealing the section with end plugs | For 1000 meters of HDPE pipe |  |  |  |
| 3 | Supplying, Transporting and laying, jointing of GI Pipes of 1 inch diameter for wall mounting/building roof area crossing. | 100 meters |  |  |  |
| 4 | Supplying, Transporting and laying, jointing of GI Pipes of 4 inch diameter at road crossing areas in the excavated trenches. | 100 meters |  |  |  |
|  | Construction of brick chamber (1 M X 1M X 1.5 M) to provide protection on slopes and embankments providing 15mm plastering surrounding the brick chamber. Thickness of the wall of chamber is 25cm with ratio of cement and sand 1:5 (1st class brick and ISI marked cement to be used). Brick chamber should be covered by removable concrete (RCC) slab of appropriate size with iron cage and GI handle such that cable maintenance can be done in future as per requirement. NERIST OFC logo should be engraved on the cover. The rate includes supply of materials. | 14 no’s |  |  |  |

Contd…p/7

Page-7

| 6 | Pulling of 24F cable through to the laid duct including all associated works as per scope of work. | 1000 meters |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 7 | Supply and fixing of RCC Route/Joint indicators of 124mm x 125mm on top, 250mm x 250mm on the bottom & 1200mm height and NERIST OFC Logo engraved on the top portion, painting with yellow synthetic enamel paint & sign writing NERIST OFC portion with black synthetic enamel & red for J/I including transport at site | 15 no’s |  |  |  |
| 8 | SC Single Mode Optical Fiber Pigtail (should comply with TIA/EIA 568-C.3.) | 72 no’s |  |  |  |
| 9 | Splicing of 24 core OFC in LIU and fixing it in network Rack | 2 |  |  |  |
| *** Final bill should be submitted as per actual implementation of materials and completion of works |

Annexure-B

Compliance Report

| Sl No. | Name of items with specification | Specification offered by firm | MRP/Company’s price list | Discount if any | Net amount | whether complied or not | Remarks. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Standard (As per specification no. RDSO/SPNTC/45/2013 Revision2.0) |  |  |  |  |  |  |
| 2 | Size Range(40/33 mm) |  |  |  |  |  |  |
| 3 | Packaging Size(Up to 1000 Meters) |  |  |  |  |  |  |
| 4 | Size/Diameter(40 mm OD) |  |  |  |  |  |  |
| 5 | Single Piece Length(500 Meters) |  |  |  |  |  |  |
| 6 | Application(Duct) |  |  |  |  |  |  |
| 7 | Colour(Green/Orange/ Black) |  |  |  |  |  |  |

ANNEXURE-1

Specification of HDPE pipe:

| Sr No. | Parameters | Specifications | Complied (Y/N) |
| --- | --- | --- | --- |
| 1 | Standard | As per specification no. RDSO/SPNTC/45/2013 Revision2.0 |  |
| 2 | Size Range | 40/33 mm |  |
| 3 | Packaging Size | Up to 1000 Meters |  |
| 4 | Size/Diameter | 40 mm OD |  |
| 5 | Single Piece Length | 500 Meters |  |
| 6 | Application | Duct |  |
| 7 | Colour | Green/Orange/ Black |  |